Appendix B

Quality Assurance Observations

This report will outline the findings and recommendations for the Quality Assurance laboratory which is used by all departments to assay pharmaceuticals and water from the HESCO production facility. The focus of this report will be on the latter.

The following recommendations are simply guidelines for safe laboratory practices, and they should not be interpreted as a complete code of practice.

- Always wear appropriate personal protective equipment. Change gloves when contaminated, and dispose of used gloves with other contaminated laboratory waste.

- Wash your hands after working with potentially hazardous materials and before leaving the laboratory.

- Do not eat, drink, smoke, handle contact lenses, apply cosmetics, or store food for human consumption in the laboratory.

- Follow the institutional policies regarding safe handling of sharps (i.e., needles, scalpels, pipettes, and broken glassware).

- Take care to minimize the creation of aerosols and/or splashes.

- Decontaminate all work surfaces before and after your experiments, and immediately after any spill or splash of potentially infectious material with an appropriate disinfectant. Clean laboratory equipment routinely, even if it is not contaminated.

- Decontaminate all potentially infectious materials before disposal.

The major requirement of a cell culture laboratory is the need to maintain an aseptic work area that is restricted to cell culture work. Although a separate tissue culture room is preferred, a designated cell culture area within a larger laboratory can still be used fort sterile handling, incubation, and storage of cell cultures, reagents, and media. The simplest and most economical way to provide aseptic conditions is to use a cell culture hood.

A cell culture hood should be large enough to be used by one person at a time, be easily cleanable inside and outside, have adequate lighting, and be comfortable to use without requiring awkward positions. Keep the work space in the cell culture hood clean and uncluttered, and keep everything in direct line of sight. Disinfect each item placed in the cell culture hood by spraying them with 70% ethanol and wiping clean. The arrangement of items within the cell culture hood usually adheres to the following right-handed convention, which can be modified to include additional items used in specific applications.

- A wide, clear work space in the center with your cell culture vessels

- Pipettor in the front right, where it can be reached easily

- Reagents and media in the rear right to allow easy pipetting

- Tube rack in the rear middle holding additional reagents

- Small container in the rear left to hold liquid waste

Successful cell culture depends heavily on keeping the cells free from contamination by microorganisms such as bacterial, fungi, and viruses. Non-sterile supplies, media, and reagents, airborne particles laden with microorganisms, unclean incubators, and dirty work surfaces are all sources of biological contamination.

Aseptic technique, designed to provide a barrier between the microrganisms in the environment and the sterile cell culture, depends upon a set of procedures to reduce the probability of contamination from these sources. The elements of aseptic technique are a sterile work area, good personal hygiene, sterile reagents and media, and sterile handling.

Sterile Work Area

The simplest and most economical way to reduce contamination from airborne particles and aerosols (e.g., dust, spores, shed skin, sneezing) is to use a cell culture hood.

- The cell culture hood should be properly set up and be located in an area that is restricted to cell culture that is free from drafts from doors, windows, and other equipment, and with no through traffic.

- The work surface should be uncluttered and contain only items required for a particular procedure; it should not be used as a storage area.

- Before and after use, the work surface should be disinfected thoroughly, and the surrounding areas and equipment should be cleaned routinely.

- For routine cleaning, wipe the work surface with 70% ethanol before and during work, especially after any spillage.

- Using a Bunsen burner for flaming is not necessary nor recommended in a cell culture hood.

- Leave the cell culture hood running at all times, turning them off only when they will not be used for extended periods of time.

Wash your hands before and after working with cell cultures. In addition to protecting you from hazardous materials, wearing personal protective equipment also reduces the probability of contamination from shed skin as well as dirt and dust from your clothes.

Commercial reagents and media undergo strict quality control to ensure their sterility, but they can become contaminated while handling. Follow the guidelines below for sterile handling to avoid contaminating them. Always sterilize any reagents, media, or solutions prepared in the laboratory using the appropriate sterilization procedure (e.g., autoclave, sterile filter).

Sterile Handling:

- Always wipe your hands and your work area with 70% ethanol.

- Wipe the outside of the containers, flasks, plates, and dishes with 70% ethanol before placing them in the cell culture hood.

- Avoid pouring media and reagents directly from bottles or flasks.

- Use sterile glass or disposable plastic pipettes and a pipettor to work with liquids, and use each pipette only once to avoid cross contamination. Do not unwrap sterile pipettes until they are to be used. Keep your pipettes at your work area.

- Always cap the bottles and flasks after use and seal multi-well plates with tape or place them in resealable bags to prevent microorganisms and airborn contaminants from gaining entry.

- Never uncover a sterile flask, bottle, petri dish, etc. until the instant you are ready to use it and never leave it open to the environment. Return the cover as soon as you are finished.

- If you remove a cap or cover, and have to put it down on the work surface, place the cap with opening facing down.

- Use only sterile glassware and other equipment.

- Be careful not to talk, sing, or whistle when you are performing sterile procedures.

- Perform your experiments as rapidly as possible to minimize contamination

Observations and recommendations

Disinfection:

- Preform boxes should not be brought into production line rooms. Boxes must be opened and the plastic lining should be sprayed liberally with 70% ethanol in the preparation room before being brought into production line room. Open only what is needed/planned for the day’s production.

- Deep clean filling room, wipe all surfaces with bleach water

- Install door sweeps for all doors

- Instill sterile production process for disinfection to HESCO line

- Concentration for bleach corrected

- Spray injection nozzles with 70% ethanol prior to filling first bottle

- HEPA filter for A/C units

- Create positive pressure in the blow room and fill room

- Bottles incorrectly capped in the fill station should be taken out of production. Unsterile caps should not be used to correct defective caps.

Cell Culture Technique:

- Clutter problem inside cell culture hood

- Using a Bunsen burner for flaming is neither necessary nor recommended in a cell culture hood. However, as no alternative is available for sterilizing streaking loop, the use of the open flame in the culture hood should be kept at a minimum.

- Work should be planned from the back to the front to reduce the possibility of contamination by covering reagents and petri dishes with hands

- Use 70% ethanol liberally during priming of cell culture hood, before starting any experiment, before bringing anything into the cell culture hood (including your hands), and after completing any experiment

- Limit movement around the hood with your arms and ensure all windows and doors are closed. Limit pass through traffic due to the layout of the cell culture hood

- Prepare smaller batches of reagents (including sterile water). The re-use of syringes will increase the likelihood of contamination. Avoid pouring media and reagents directly from bottles or flasks.

- Take care in pipetting to ensure no air goes back into the syringe

- Limit the opening of the petri dishes when streaking

- Draw more volume than necessary when plating to ensure that you are not at empty at the last plate

- Ensure duplicates are treated as separate experiments. i.e. no sharing of reagents or syringes

- Ensure no contact to the side or tip of the flask, bottle, syringe

- Tape petri dishes shut with tape after experiment to reduce contamination in cell culture hood

- Use of Kim wipes recommended – no cotton swabs

- Purchase of autopipette/micropipette recommended to minimize possibility of contamination from the elimination of the reuse of syringes during experiments

- Third party testing facility recommended to validate results monthly/quarterly/failed batches

Basic Equipment Purchase:

| Description | Quantity | Cost (USD) |
| --- | --- | --- |
| Autopipette | 1 | $ 300 |
| Micropipette |  |  |
| 2-20 microliter | 1 | $ 810 |
| 20-200 microliter | 1 |  |
| 100-1000 microliter | 1 |  |
| Micropipette Tips |  |  |
| 2-20 microliter | 1 | $ 250 |
| 20-200 microliter | 1 |  |
| 100-1000 microliter | 1 |  |
| Kimwipes (cases) | 2 | $ 30 |
| 100 mL Burette | 2 | $ 70 |
|  |  | $ 1,460 |

Aseptic Technique Checklist

| Work Area |  |
| --- | --- |
| Is the cell culture hood properly set up? |  |
| Is the cell culture hood in an area free from drafts and through traffic? |  |
| Is the work surface uncluttered, and does it contain only items required for your experiment? |  |
| Did you wipe the work surface with 70% ethanol before work? |  |
| Are you routinely cleaning and sterilizing your incubators, refrigerators, freezers, and other laboratory equipment? |  |
| Personal Hygiene |  |
| Did you wash your hands? |  |
| Are you wearing personal protective equipment? |  |
| If you have long hair, is it tied in the back? |  |
| Are you using a pipettor to work with liquids? |  |
| Reagents & Media |  |
| Have you sterilized any reagents, media, and solutions you have prepared in the laboratory using the appropriate procedure? |  |
| Did you wipe the outside of the bottles, flasks, and plates with 70% ethanol before placing them on your work surface? |  |
| Are all your bottles, flasks, and other containers capped when not in use? |  |
| Are all your plates stored in sterile re-sealable bags? |  |
| Does any of your reagents look cloudy? Contaminated? Do they contain floating particles? |  |
| Do you detect a foul smell? Unusual color? If yes, did you decontaminate and discard those items? |  |
| Handling |  |
| Are you working slowly and deliberately, mindful of aseptic technique? |  |
| Did you wipe the surfaces of all the items including pipettor, bottles, and flasks with 70% ethanol before placing them in the cell culture hood? |  |
| Are you placing the caps or covers face down on the work area? |  |
| Are you using sterile glass pipettes or sterile disposable plastic pipettes to manipulate all liquids? |  |
| Are you using a sterile pipette only once to avoid cross contamination? |  |
| Are you careful not to touch the pipette tip to anything non-sterile, including the outside edge of the bottle threads? |  |
| Did you mop up any spillage immediately, and wiped the area with 70% ethanol? |  |